ADITYA INSTITUTE OF TECHNOLOGY AND MANAGEMENT, TEKKALI

DEPARTMENT OF MECHANICAL ENGINEERING

MID: II

CLASS: 3rd ME        SEC: A&B							SEMESTER: II

SUB: ICS					SET-1				DATE: 07-02-2018

Answer all questions each question carry one mark					1X10=10M

1. Thermocouple works based on?								[CO2]

a) Hall effect 	         b) faraday’s law          c) ohm’s law                d) see back effect

2. RTD will have										 [CO2]

a) Positive temperature coefficient of resistance

b) Positive temperature coefficient of expansion

c) Negative temperature coefficient of resistance

d) Negative temperature coefficient of expansion

3.) LVDT works on the principle of 								 [CO2]

a) Mutual inductance  	b) mutual resistance 	c) mutual capacitance	 d) mutual variance

4. A resistive displacement potentiometer voltage is						 [CO3]

a) eo = xtxtei	  b) eo = xtxtRi	                      c) eo = xixtei	              d) eo = xixtRi

5. Pneumatic load cell are used to measure                                                                                          [ CO3]

a) Dynamic torque		b) force 	c) velocity		d) torque

6) A Reynolds’s number of 1000                                                                                                          [CO3]

a) Turbulent flow	b) Laminar flow 	c) a &b 	               d) None of the above

7) In a simple bar elastic force element, force is                                                                                   [CO3]

a) F= XAE/L 	   b) F=XLE/A 		  c) F=LE/XA		 d) F=XEL/A

8) Identify the transmission type dynamometer                                                                                    [CO3]

a) Eddy –current type	b) belt type	c) hydraulic type	d) electric cradled

9) A strain gauge torque transducers a strain gauge should be mounted at                                          [CO3]

a) 00 to shaft axis	b) at 450 to shaft axis 	c) 900 to shaft axis	 d) 600 to shaft axis

10) Tachometers are used to measure?                                                                                                 [CO3]

a) Displacement			b) time		c) angular velocity	d) vibration

10X3=30M

|  |  | Course outcome (s) | Program outcomes | Cognitive Level |
| --- | --- | --- | --- | --- |
| 2 | - Describe the principle and operation of RTD (5 Marks) b) Describe the principle and operation of optical pyrometer (5 Marks) | CO2 | a,e,j,l | Understand |
| 3 | a) Explain how capacitive transducer is used to measure the linear and angular displacement? (5 Marks) b) Derive the equation for relative displacement in seismic instrument? (5 Marks) | CO 3 | a,e,j,l | # Remember |
| 4 | a) Describe the working principle of Eddy current dynamometer? (5 Marks) b) Explain how stroboscope is used to measure the rotating shaft speed with neat sketches? (5 Marks) | CO 3 | a,e,j,l | Understand |

CO-PO & PSO Mapping

| CO | CO2 | CO3 |
| --- | --- | --- |
| PO | 1,2,4,9,12 | 1,2,4,9,12 |
| PSO | 2 | 2 |

ADITYA INSTITUTE OF TECHNOLOGY AND MANAGEMENT, TEKKALI

DEPARTMENT OF MECHANICAL ENGINEERING

MID: II

CLASS: 3rd ME        SEC: A&B							SEMESTER: II

SUB: ICS					SET-1				DATE: 07-02-2018

Answer all questions each question carry one mark					1X10=10M

1. Thermocouple works based on?								[CO2]

a) Hall effect 	         b) faraday’s law          c) ohm’s law                d) see back effect

2. RTD will have										 [CO2]

a) Positive temperature coefficient of resistance

b) Positive temperature coefficient of expansion

c) Negative temperature coefficient of resistance

d) Negative temperature coefficient of expansion

3.) LVDT works on the principle of 								 [CO2]

a) Mutual inductance  	b) mutual resistance 	c) mutual capacitance	 d) mutual variance

4. A resistive displacement potentiometer voltage is						 [CO3]

a) eo = xtxtei	  b) eo = xtxtRi	                      c) eo = xixtei	              d) eo = xixtRi

5. Pneumatic load cell are used to measure                                                                                          [ CO3]

a) Dynamic torque		b) force 	c) velocity		d) torque

6) A Reynolds’s number of 1000                                                                                                          [CO3]

a) Turbulent flow	b) Laminar flow 	c) a &b 	               d) None of the above

7) In a simple bar elastic force element, force is                                                                                   [CO3]

a) F= XAE/L 	   b) F=XLE/A 		  c) F=LE/XA		 d) F=XEL/A

8) Identify the transmission type dynamometer                                                                                    [CO3]

a) Eddy –current type	b) belt type	c) hydraulic type	d) electric cradled

9) A strain gauge torque transducers a strain gauge should be mounted at                                          [CO3]

a) 00 to shaft axis	b) at 450 to shaft axis 	c) 900 to shaft axis	 d) 600 to shaft axis

10) Tachometers are used to measure?                                                                                                 [CO3]

a) Displacement			b) time		c) angular velocity	d) vibration

10X3=30M

|  |  | Course outcome (s) | Program outcomes | Cognitive Level |
| --- | --- | --- | --- | --- |
| 2 | - Describe the principle and operation of RTD (5 Marks) b) Describe the principle and operation of optical pyrometer (5 Marks) | CO2 | a,e,j,l | Understand |
| 3 | a) Explain how capacitive transducer is used to measure the linear and angular displacement? (5 Marks) b) Derive the equation for relative displacement in seismic instrument? (5 Marks) | CO 3 | a,e,j,l | # Remember |
| 4 | a) Describe the working principle of Eddy current dynamometer? (5 Marks) b) Explain how stroboscope is used to measure the rotating shaft speed with neat sketches? (5 Marks) | CO 3 | a,e,j,l | Understand |

CO-PO & PSO Mapping

| CO | CO2 | CO3 |
| --- | --- | --- |
| PO | 1,2,4,9,12 | 1,2,4,9,12 |
| PSO | 2 | 2 |

ADITYA INSTITUTE OF TECHNOLOGY AND MANAGEMENT, TEKKALI

DEPARTMENT OF MECHANICAL ENGINEERING

MID: II

CLASS: 3rd ME   SEC: A&B							SEMESTER: II

SUB: ICS					SET-2			          DATE:07-02-2018

Answer all questions each question carry one mark					1X10=10M

1) The bending of bi metallic strips during rise in temperature is due to difference in their        [CO2]

a) Coefficient of expansion                                     b) Elastic properties

c) Thermal conductivities                                               d) none of these

2)  Which of the fallowing temperature measuring device depends on its action upon a change in to

Electrical resistance of a metallic element?                                                                             [CO2]

a) Bolometer	       b) Thermister  	c) Bi-metallic strip 	 d) Thermopile

3) LVDT is an                                                                                                                              [CO3]

a) Active transducer        b) passive transducer        c) Inverse transducer	 d) self transducer

4) The capacitance of parallel plate capacitance can be varied by change in parameters?            [CO3]

a) ε,R,d			 b) ε,A,d		 c) ε,r,c		        d) ε,r,l

5) When a certain natural or artificial crystal is deformed, an electric charge is generated. This

Characteristic is referred to as?                                                                                                  [CO3]

a) Thermo-electric effect			 b) Capacitive effect

c) Piezo-electric effect 				d) Electro-magnetic effect

6) When a seismic instrument are used in the accelerometer made up  of :                     [CO3]

a) Stiff spring and small mass 	     	 b) heavy mass weak spring

c) Weak spring and small mass	 	 d) none of these

7) When load is applied on a strain gauge load cell, the change in output voltage is                    [CO3]

- dV0=2(1-μ)dRR VS4                                                b) dV0=2(1+μ)dRR VS2

- c) dV0=21-μRdR VS4                                                  d) dV0=2(1+μ)dRR VS4

8)  In a strain gauge torque transducer …………and …………are used for taking signals in & out

Rotating shaft?                                                                                                                             [CO3]

a) Slip ring and brushes	  b) brushes and shaft  	 c) shaft and slip ring 	 d) none

9) A dynamometer measures the                                                                                                  [CO3]

a) force	                                         b) torque

c) power                                            d) power factor

10) In a single mark stroboscope, if speed of the motor is half of the speed of stroboscope then observed

pattern will have                                                                                                                           [CO3]

a) One mark 	            b) two marks	     c) three marks 	          d) four marks

|  |  | Course outcome (s) | Program outcomes | Cognitive Level |
| --- | --- | --- | --- | --- |
| 2 | a) Explain the principle and operation of thermocouple and its laws? (5 Marks) b) Explain the bi-metallic strips used for temperature measurement? (5 Marks) | CO 2 | a,e,j,l | understand |
| 3 | a) Describe operation of LVDT and RVDT to measure linear and angular displacement (5 Marks) b) Write the principle and operation of inductive and capacitive vibrometers? (5 Marks) | CO 3 | a,e,j,l | Remember |
| 4 | a) Draw and explain electrical torsion meter and strain gauge torsion meter with neat sketches? (5 Marks) b) Explain the construction and operation of strain gauge load cell and show how output voltage is a measure of applied load? (5 Marks) | CO 3 | a,e,j,l | undestand |

CO-PO & PSO Mapping

| CO | CO2 | CO3 |
| --- | --- | --- |
| PO | 1,2,4,9,12 | 1,2,4,9,12 |
| PSO | 2 | 2 |