ADITYA INSTITUTE OF TECHNOLOGY AND MANAGEMENT, TEKKALI

DEPARTMENT OF MECHANICAL ENGINEERING

MID: III

CLASS: 3rd ME_SEC: A&B						SEMESTER: II

SUB: ICS									DATE: 22-03-2018

1. A good control system has all the following features except				   [CO 4]

(a) Good stability (b) slow response (c) good accuracy (d) sufficient power handling capacity

2. with feedback _____ increases. 							              [CO 4]

(a) System stability 	 (b) sensitivity	 (c) gain 	(d) effects of disturbing signals

3. Identify which one is step signal with magnitude A					  [CO 4]

a)r(t)=A 	 	 b)  r(t)=A2 		c) r(t)=At		d) r(t)=At2

4. The damping ratio of a system having the characteristic equation   S2+2s+8=0

a) 0.353                 b) 0.330.       c) 0.300                d) 0.250.				[CO 4].

5. The Laplace transform of e-2t sin 2 w t is ____________   				[CO 5]

6.  A Reynolds’s number of 1000								[CO 5]

a) Turbulent flow	b) laminar flow 		 c) a &b 	d) none of the above

7.   As a root moves further away from imaginary axis the stability`			[CO 4]

(a) Increases         (b) decreases           (c) not affected          (d) none of these

8. The valid relation between setting time ts and rise time tr is				[CO 5]

(a) tr>ts              (b) ts>tr            (c) ts=tr                 (d) none of these

9. Phase margin of a system is used to specify which of the following ?		[CO 5]

(a) Frequency response       (b) Absolute stability     (c) Relative stability     (d) Time response

10) Which of the following is the input to a controller?					[CO 5]

(a) Servo signal		 (b) Desired variable value	 (c) Error signal 	(d) Sensed signal

|  |  | CO’s | Cognitive Level |
| --- | --- | --- | --- |
| 2 | Obtain the response of a unity feedback system whose open loop transfer function G(s) =10/s(s+10). When a unit step input signal is applied. (10 M) | CO4 | Understand |
| 3 | The open loop transfer function of a unity feedback control system is given by G(s) =Ks+2)s+4(20S2+16S+16 .discus the stability of the system using RH criteria. (10 M) | CO 4 | Remember |
| 4 | Draw the nyquist plot for the system whose open loop transfer function is G(s)H(s)=K/s(s+2)(s+10).determine range of K for which closed loop system is stable. (10 M) | CO 5 | Understand |

| CO-PO & PSO Mapping |  |  |
| --- | --- | --- |
| CO | CO4 | CO5 |
| PO | 1,2,4,9,12 | 1,2,4,9,12 |
| PSO | 2 | 2 |

****

ADITYA INSTITUTE OF TECHNOLOGY AND MANAGEMENT, TEKKALI

DEPARTMENT OF MECHANICAL ENGINEERING

MID: III

CLASS: 3rd ME_SEC: A&B						SEMESTER: II

SUB: ICS									DATE: 22-03-2018

1. A good control system has all the following features except				   [CO 4]

(a) Good stability (b) slow response (c) good accuracy (d) sufficient power handling capacity

2. with feedback _____ increases. 							              [CO 4]

(a) System stability 	 (b) sensitivity	 (c) gain 	(d) effects of disturbing signals

3. Identify which one is step signal with magnitude A					  [CO 4]

a)r(t)=A 	 	 b)  r(t)=A2 		c) r(t)=At		d) r(t)=At2

4. The damping ratio of a system having the characteristic equation   S2+2s+8=0

a) 0.353                 b) 0.330.       c) 0.300                d) 0.250.				[CO 4].

5. The Laplace transform of e-2t sin 2 w t is _____________   				[CO 5]

6.  A Reynolds’s number of 1000								[CO 5]

a) Turbulent flow	b) laminar flow 		 c) a &b 	d) none of the above

7.   As a root moves further away from imaginary axis the stability`			[CO 4]

(a) Increases         (b) decreases           (c) not affected          (d) none of these

8. The valid relation between setting time ts and rise time tr is				[CO 5]

(a) tr>ts              (b) ts>tr            (c) ts=tr                 (d) none of these

9. Phase margin of a system is used to specify which of the following ?		[CO 5]

(a) Frequency response       (b) Absolute stability     (c) Relative stability     (d) Time response

10) Which of the following is the input to a controller?					[CO 5]

(a) Servo signal		 (b) Desired variable value	 (c) Error signal 	(d) Sensed signal

|  |  | CO’s | Cognitive Level |
| --- | --- | --- | --- |
| 2 | Obtain the response of a unity feedback system whose open loop transfer function G(s) =10/s(s+10). When a unit step input signal is applied. (10 M) | CO4 | Understand |
| 3 | The open loop transfer function of a unity feedback control system is given by G(s) =Ks+2)s+4(20S2+16S+16 .discus the stability of the system using RH criteria. (10 M) | CO 4 | Remember |
| 4 | Draw the nyquist plot for the system whose open loop transfer function is G(s)H(s)=K/s(s+2)(s+10).determine range of K for which closed loop system is stable. (10 M) | CO 5 | Understand |

| CO-PO & PSO Mapping |  |  |
| --- | --- | --- |
| CO | CO4 | CO5 |
| PO | 1,2,4,9,12 | 1,2,4,9,12 |
| PSO | 2 | 2 |

****